## Slide 1
OpenSeizureDetector Event Logging Workflow Initial Set-Up
Start OSD
Android App
Select Settings
Screen
Enable ‘Log to Remote Database’ & return to main screen
Select ‘Data
Log Manager’
menu item
Select
‘Authenticate’
button
Select
‘Register’
button
Enter user name, email address, password & press ‘Register’ button
Look for confirmation email arriving, and press link in email to confirm identity.
Go back to Data Log Manager ‘Authenticate’ screen
Enter User Name and Password then Press OK
It should show a message saying authenticated.
Close OSD app (it contnues in background)

## Slide 2
OpenSeizureDetector Event Logging Workflow Validate Events
Start OSD
Android App
Unvalidated Events show ‘null’ Event Type Select Event to Edit
Select Query Notification
?
Please Validate Events
Select ‘Data
Log Manager’
menu item
Select Event Type (Seizure, False Alarm Etc.)
Select Event Sub-Type (options depend on selected type)
If the cause of the event is not on the list, select ‘Other’
Add notes that may be useful to someone looking at the data
Select ‘Save’